## calcs
Spore Type | Test Solution Conc’n, Spores/mL | % of Drops Occupied | Nebulizer Flow, µL/min | min |  |  |  |  | Estimated Spores
per Test
[5 empty] | total µL |  |  |  | From Nebulizer | Collected by BioSampler | mL ViaTrap | spores/mL VaiTrap | Spores per culture tube (1 mL VT oil added)
GS | 152000000 | 10 | 7 | 36 | 252 |  |  |  | 38100000 | 18900000 | 20 | 945000 | 945000
BA | 126000000 | 7 | 7 | 36 | 252 |  |  |  | 31500000 | 15600000 | 20 | 780000 | 780000
Spore Type | Test Solution Conc’n, Spores/mL | % of Drops Occupied | Nebulizer Flow, µL/min | min |  |  |  |  | Estimated Spores
per Test
[5 empty] | total µL | total mL | total spores dispensed | total collected | From Nebulizer | Collected by BioSampler
GS | 152000000 | 10 | 7 | 36 | 252 | 0.252 | 38304000 |  | 3.81 x107 | 1.89 x107
BA | 126000000 | 7 | 7 | 36 | 252 | 0.252 | 31752000 |  | 3.15 x107 | 1.56 x107
|  | lpm | min | L | mL | tot spores | spores/mL | mL collected | [5 empty] | spores
|  | 24.88 | 36 | 895.68 | 895680 | 38304000 | 42.7653 |  |  | 11.9 | biosampler | 47.79% |  | 18305927.7108
[10 empty] | 12.9 | exhaust | 51.81% |  | 19844240.9639
[10 empty] | 24.9 | total
|  | 11.9 | 36 | 428.4 | 428400 | 38304000 | 89.4118