Supplemental Table 1. Primer and probe sequences, reaction mixtures and cycling conditions used in this study.

| Assay | Primer & Probe Sequences (5’ 3’) | Reaction Mixture | Cycling Conditions | Ref |
| --- | --- | --- | --- | --- |
| All Plasmodia qPCR | Forward primer GTT AAG GGA GTG AAG ACG ATC AGA TA Reverse primer AAC CCA AAG ACT TTG ATT TCT CAT AAG Probe VIC-TCG TAA TCT TAA CCA TAA AC-NFQ | FastStart Universal Probe Master Mix (Roche, Indianapolis, IN, USA) 1μM primers 200nM probe 4μL template | 95℃ 2 min 40 cycles: 95℃ 15 s 60℃ 1 min | [1] |
| Nested PCR Round 1 | rPLU1 TCA AAG ATT AAG CCA TGC AAG TGA rPLU5 CCT GTT GTT GCC TTA AAC TCC | FastStart High Fidelity PCR System (Roche, Indianapolis, IN) 200nM primers 5μL template HotStarTaq Master Mix (Qiagen, Hilden, Germany) 200nM primers 5μL template | 95℃ 2 min 35 cycles: 95℃ 30 s 53℃ 30 s 72℃ 1 min 72℃ 5 min 95℃ 15 min 35 cycles: 94℃ 1 min 50℃ 1 min 72℃ 1 min 72℃ 10 min | [2] |
| Nested PCR Round 2 (genus-specific) | rPLU3 TTT TTA TAA GGA TAA CTA CGG AAA AGC TGT rPLU4 TAC CCG TCA TAG CCA TGT TAG GCC AAT ACC | FastStart High Fidelity PCR System (Roche, Indianapolis, IN) 200nM primers 5μL template | 95℃ 15 min 35 cycles: 94℃ 1 min 55℃ 1 min 72℃ 1 min 72℃ 10 min | [2] |
| Nested PCR Round 2 (falciparum) | rFAL1 TTA AAC TGG TTT GGG AAA ACC AAA TAT ATT rFAL2 ACA CAA TGA ACT CAA TCA TGA CTA CCC GTC | HotStarTaq Master Mix (Qiagen, Hilden, Germany) 200nM primers 5μL template | 95℃ 15 min 35 cycles: 94℃ 1 min 62℃ 1 min 72℃ 1 min 72℃ 10 min | [2] |
| Nested PCR Round 2 (malariae) | rMAL1 ATA ACA TAG TTG TAC GTT AAG AAT AAC CGC rMAL2 AAA ATT CCC ATG CAT AAA AAA TTA TAC AAA | HotStarTaq Master Mix (Qiagen, Hilden, Germany) 200nM primers 5μL template | 95℃ 15 min 35 cycles: 94℃ 1 min 58℃ 1 min 72℃ 1 min 72℃ 10 min | [2] |
| Nested PCR Round 2 (ovale) | rOVA1 ATC TCT TTT GCT ATT TTT TAG TAT TGG AGA rOVA2 GGA AAA GGA CAC ATT AAT TGT ATC CTA GTG | HotStarTaq Master Mix (Qiagen, Hilden, Germany) 200nM primers 5μL template | 95℃ 15 min 35 cycles: 94℃ 1 min 62℃ 1 min 72℃ 1 min 72℃ 10 min | [2] |

Supplemental Figure 1. Sample flow diagram.

References

1.	Taylor SM, Juliano JJ, Trottman PA, Griffin JB, Landis SH, Kitsa P, Tshefu AK, Meshnick SR: High-throughput pooling and real-time PCR-based strategy for malaria detection. J Clin Microbiol 2010, 48:512-519.

2.	Singh B, Bobogare A, Cox-Singh J, Snounou G, Abdullah MS, Rahman HA: A genus- and species-specific nested polymerase chain reaction malaria detection assay for epidemiologic studies. Am J Trop Med Hyg 1999, 60:687-692.